REPORT FROM WASH COORDINATION MEETING – DUE TO RAINY SEASON – CACANDA RECEPTION CENTER

Date: 05th September 2017

Place: Cacanda Resort Hotel

Hours: from 9:20 AM to 16:30 PM

Presents: UNICEF (Chairing), UNHCR, NCA, LWF, PIN, MSF and Local Cacanda Refugee Leaders

STRATEGY USING:

- Technical evaluation of WASH facilities in the Camp and Outside the Camp by all attendees

- Technical meeting with all attendees for identification problems (in Water, Sanitations, drainage and waste management, Hygiene Promotion and Shelter) and suggestion of  solutions

- Brief meeting of the repartition of responsibilities between actors.

- WATER

| CHALLENGES | SOLUTIONS | RECOMMANDATIONS & REMARKS |
| --- | --- | --- |
| Maintenance of water points | close with fences, rehabilitate the bases (sand bags and cover with plastic sheeting) |  |
| Many distribution points in the camp | Reduce the number of distribution point for good maintenance to 3-4 points. This will facilitate maintenance and an easy drainage orientation. | Recommend Shelter and Camp management to give enough space to 4 points selected to allow WASH team to concentrate tanks and bladders. At those 4points |
| Insufficient water/conflicts for water: probable reasons: not enough water truck rounds per day due increase of population in the camp – refuges from the village start to move to the camp to be transferred for Lovua, estimation of plus the 1000 (info from Refugee Committee) | Create a water committee management (NCA and LWF to finalize and share the ToR by Wednesday 06th September 2017 and the refugees’ leaders to vote the actors of this committee. UNHCR to communicate the exact number(physicaly) of refugees living in Cacanda Currently UNICEF(4trips) and NCA(3trips) have to respect their respective daily number of water trucking trips Make a time schedule for water trucks provision to be sure there is water all the day. |  |
| Water Quality | Reinforce Chlorination system: 1st proposition is the do it inside the truck to avoid waiting time and assurance of good mixing chlorine-water Write a SOP for water Chlorination to be shared to partners Wash the water tanks (never washed since start the camp) Close the water source (spring) downhill outside of the camp… water from spring but on the top it is an open defecation field. |  |

II. SANITATION

| CHALLENGES | SOLUTIONS | RECOMMANDATIONS & REMARKS |
| --- | --- | --- |
| Existence of individual/ Private latrines, showers and trash pits in the camp | In the next 24h – identify and destroy any private latrines, showers or trash pits in the camp and pass the message in the radio/HP team the reasons about why they shouldn’t do it |  |
| Design of latrines and showers | A new design for SEMI PERMANENT LATRINES was proposed and agreed, using metal barrels. The draw and SOP will be shared soon and UNICEF will build a pilot as example for build the others. For showers the infiltration will be done respecting the granulometry (big rocks in the bottom to small ones on the top) and resize the soak pits to bigger. All latrines and showers have to have good and functional doors and lockers system and also roofs. For latrines don’t forget the ventilation hole in the top. |  |
| Sanitation Location | All latrines and Showers located at the bottom in the camp will be closed The new latrines and showers will be built in the laterals of the camp, and will have contention barriers to avoid entrance of rain water |  |
| 35 Latrines are filled of rainy water and need to be decommissioned and replaced 35 others are exposed for the next rain 35 showers needs to be replaced/built | Respect the SOP for decommissioning latrines as agreed has been strongly recommended. Protect the 35 exposed latrines by drainage to maintain them as longer as possible. Replace/Construct 35 new showers at the lateral area. | 20 semi-permanent latrines will be constructed by NCA and 14 by LWF 20 showers will be constructed by NCA and 14 by LWF |
| Separation between male and female | Write clearly on each new latrine and shower built |  |
| Lack of latrines for children and Handicap people | Identify a place and build children latrines Protection section and Refugee Committee will give the numbers of people living with handicap to allow WASH team to plan and adapted latrines. |  |
| Darkness generating: fear of sexual violence and consequently open defecation (in the camp and outside the camp) at night and facilitate people to remove tarpaulins on latrines and showers in the night | Install lights at the sanitation facilities Put 6 guards at the sanitation blocks areas and outside the camp to control entrance by gender and also control open defecation of children and adults at night. | Camp management team to install light |
| Lack of hand washing facilities at the latrines | Ensure that the maintenance team fix the hand washing water supports and the cleaning ladies of each block put bucket with taps with safe water and soap – needs of regular supervision |  |
| Washing clothes near to the tank/ waste of water (see also Drainage) | Sensibilization with messages in the radio and HP team. To be addressed by the Water Management committee Identify 2 places to create washing areas in the camp. |  |
| Lack of cleaning products | Each actor has to be responsible to buy their own disinfection products and be sure that there is enough and well used. |  |

III. DRAINAGE

| CHALLENGES | SOLUTIONS | RECOMMANDATIONS & REMARKS |
| --- | --- | --- |
| Lack of a drainage system of waste water (grey water) and rain water in all the camp | Make drainage channels to conduct the water to outside of the camp Make/ unclog the draining big holes (50X50cm) in the wall at the bottom of the camp. Create a Brigade team for rapid intervention in case of strong rain arrives suddenly. UNICEF will give a training and tools. |  |
| Water distribution X drainage | Centralise the water points in 4 places to avoid to have several areas with flooded draining and stagnated water Builds bigger infiltration trenches and drainage channels |  |
| Lack of washing areas | Identify 2 Washing areas in the camp (at the latrines replaced) and make the proper draining channels |  |

IV. WASTE MANAGEMENT

| CHALLENGES | SOLUTIONS | RECOMMANDATIONS & REMARKS |
| --- | --- | --- |
| Issues with the company for garbage collection generating a lack of efficient collection and accumulation of garbage in the camp | Meeting with Dundo administration to sort/clarify/ understand the constrains Contact Mr Elias as a back up |  |
| Inadequate use of the garbage’s bags | Messages about the importance to put the trash in the bags and do not use for other ends Ensure that the quantity distributes is sufficient |  |
| Inadequate disposal of the bags – people through whatever near to the transit trash area | Sensibilization about disposal INSIDE of the transit trash areas |  |
| Vector Control – presence of flies | Vector control – identify one person that will be dedicate to spray chlorine 2x per day in the trash area. The same person can also participate of decommissioning latrines process first step: chlorine disinfection. |  |
| The transit trash area are exposed to the weather | Cover the transit trash area with roof |  |

V. HYGIENE PROMOTION

| CHALLENGES | SOLUTIONS | RECOMMANDATIONS & REMARKS |
| --- | --- | --- |
| The social mobilizers don’t have the capacity adapted to current emergency situation | Training and building capacity of social mobilizers regarding the new context |  |
| Lack of hygiene promotion messages. Need of new approach adapted | Conception of new approach adapted to the situation - Hygiene Key Messages |  |
| Non appropriation of refugees in solid and liquid waste management issues | Organization of CAMPAIGN of Collection of solid waste and liquid drainage – once per 2weeks |  |

VI. SHELTER

| CHALLENGES | SOLUTIONS | RECOMMANDATIONS & REMARKS |
| --- | --- | --- |
| Increasing of refugees in the camp – refugees living in the camp without shelter | Shelter team to distribute tarpaulins or tents to identified refugees |  |
| Rain water entering in the tens/refugee houses | EXTREMELLY RECOMMENDED MOVE ALL THE TENTS IN THE BOTTOM OF THE CAMP – recommendation to move this people first to Lovua OR move them for the empty tents of the ones that left. Encourage refugees to protect their tents/houses against entering of the rain water. | Camp management and shelter teams |

HIGHT RECOMMENDATIONS:

- Speed with relocation of Cacanda refugees to Lovua settlement.

- No more new refugees from the host community to be installed in the camp.

Dundo, 06th September 2017