SCOPE OF WORK

The UNHCR Peaceful Coexistence Project: Repair of a Community Center for residents and IDPs in Cheryomushki district of Bakhmut city, Donetsk region

- Nature of Service

UNHCR seeks to hire a contractor for the repair works on the territory specified in the BoQ, where UNHCR will be engaged in the repair of premises in  Community Centre for residents and IDPs in  Bakhmut city , Cheryomushki district.

- The work includes

The premises needs repair works and re-purposing works.

Under this RFQ, UNHCR will repair the floor, ceiling, walls, plumbing, heating system, electrical works, windows, doors, and the stairs, and will erect partitions, as well as a new separate entry/exit for this community center.

The details of the intervention are described BoQ

Where relevant, the expected execution time is mentioned in BoQ.

A Obligations of UNHCR:

1.	UNHCR will provide access for the Contractor and its workforce to sites in an organized manner and based on pre-approval

2.	UNHCR will supervise the cleaning  works  and acceptance/rejection of the completed works will solely depend on compliance with the specifications

3.	Upon satisfactory completion, UNHCR will pay the Contractor the amounts due based on the Work Orders and the quantities executed

B Obligations of the Contractor:

- The Contractor will only be paid based on the quantity of repair executed corresponding unit rates as agreed.

- All repair works shall comply with Ukraine regulations and standards.

- The Contractor shall include for all necessary equipment, materials and work practices in order to comply with these standards and regulations, even where not precisely specified in this outline specification.

- The contractor shall be responsible for insurance of works/workers & responsible for repairing and/or replacing anything which has been damaged by the contractor or their sub-contractors within the site.

C. Important note :

The contractor should be ready to begin the works, by the day specified by UNHCR (within 48 hour notice).The construction should be finished as agree with technical team. Works will be monitored by the technical staff from UNHCR FU in Sloviansk.

A Completion certificate will be issued by UNHCR at the end of the works, and after technical inspections.

D. Payment :

Payment shall be made on satisfactory delivery of works based on progress after submission of an Invoice which certify by site engineer. Payment shall be made within 30 working days from day of receipt of Invoice.